## Leaks
Leaks Found By ADR Contact Brendan on 021 822 678
Contractor | Date | DMA | Street | House No. | Valve | Hydrant | Toby | Service | Rider main | Main | Private leak | Priority rating | Identification Number | Lpm Estimate | Leak Visible | Leak Location | Description of Leak or Maintenance Item | Additional Comments | Maximo WO number (WWL) | CRM number (WWL)
ADR | 6.9.22 | CBD West | Hutt Road | 270 | 1 | [6 empty] | 3 | CBDW1 | 6 | No | In Foot path 200m north of Rail bridge | Scour valve leaking marked.
ADR | 6.9.22 | CBD West | Hutt Road | 208 | 1 | [6 empty] | 3 | CBDW2 | 6 | No | In driveway to Clatex service station | SV leaking marked.
ADR | 6.9.22 | CBD West | Hutt Road | 125 |  |  |  | 1 |  |  |  | 2 | CBDW3 | 30 | Yes | In bus stop | Service connection leaking marked.
ADR | 6.9.22 | CBD West | School road | 5 |  |  |  |  | 1 |  |  | 3 | CBDW4 | 6 | Yes | By Wooden Bridge | Rider main leaking marked
ADR | 6.9.22 | CBD West | Kaiwharawhara rd | 29 opposite Cameron st | [6 empty] | 1 | 3 | CBDW5 | 3 | Yes | Over fence | Private leak seen on pipe.
ADR | 6.9.22 | CBD West | Curnow way | 4 |  | 1 | [5 empty] | 3 | CBDW6 | 0.5 | No | In road | Hydrant leaking marked.
ADR | 6.9.22 | CBD West | Marsh way | 10 |  | 1 | [5 empty] | 3 | CBDW7 | 1 | No | In road | Hydrant leaking marked.
ADR | 6.9.22 | CBD West | Thorndon Quay | 257 |  |  | 1 |  |  |  |  | 3 | CBDW8 | 9 | No | in footpath | Toby leaking marked.
ADR | 6.9.22 | CBD West | Thorndon Quay | 250 |  |  |  | 1 |  |  |  | 2 | CBDW9 | 6 | No | In previous patch | Service connection leaking marked.
ADR | 6.9.22 | CBD West | Thorndon Quay | 162 |  | 1 | [5 empty] | 3 | CBDW10 | 0.5 | No | In road | Hydrant leaking marked.
ADR | 6.9.22 | CBD West | Rangiora ave | 11 | [6 empty] | 1 | 3 | CBDW11 | 1 | No |  | Private leak heard on toby.
ADR | 8.9.22 | CBD West | Webb St | 77 |  |  | 1 |  |  |  |  | 3 | CBDW12 | 1 | No | in footpath | Toby leaking marked.
ADR | 8.9.22 | CBD West | Arlington St | 24 |  | 1 | [5 empty] | 3 | CBDW13 | 1 | No | In road | Hydrant leaking marked. | Closed By ADR.
ADR | 8.9.22 | CBD West | Arlington St | Opposite 6 |  |  | 1 |  |  |  |  | 2 | CBDW14 | 3 | Yes | In Footpath | Toby leaking marked.
ADR | 8.9.22 | CBD West | Arlington St | 20 | [6 empty] | 1 | 3 | CBDW15 | 6 | No |  | Private leak seen on meter.
ADR | 8.9.22 | CBD West | Cuba st | 270 | [6 empty] | 1 | 3 | CBDW16 | 6 | No |  | Private leak heard on toby.
ADR | 8.9.22 | CBD West | Abel Smith st | 44 |  | 1 | [5 empty] | 3 | CBDW17 | 1 | No | In road | Hydrant leaking marked.
ADR | 8.9.22 | CBD West | Taranaki st | 172 |  | 1 | [5 empty] | 3 | CBDW18 | 1 | Yes | In footpath | Hydrant leaking marked.
ADR | 8.9.22 | CBD West | Abel Smith st | 12 | [6 empty] | 1 | 3 | CBDW19 | 6 | No |  | Private leak heard on toby.
ADR | 8.9.22 | CBD West | Abel Smith st | 113 |  | 1 | [5 empty] | 3 | CBDW20 | 1 | No | In road | Hydrant leaking marked.
ADR | 8.9.22 | CBD West | Kensington st | 1 | 1 | [6 empty] | 3 | CBDW21 | 1 | No | In footpath | Gate valve leeaking marked.
ADR | 8.9.22 | CBD West | Taranaki st | 276 | [6 empty] | 1 | 2 | CBDW22 | 3 | Yes | In driveway | Private leak serfacing in drive.
ADR | 8.9.22 | CBD West | The Terrace | 229 |  |  | 1 |  |  |  |  | 3 | CBDW23 | 0.5 | No | in footpath | Toby leaking marked.
ADR | 8.9.22 | CBD West | Inverlochy Place | 5 |  |  |  | 1 |  |  |  | 2 | CBDW24 | 15 | Yes | In road | Service connection leaking marked. | Emailed Hub.
ADR | 12.9.22 | CBD West | Wakefield st | 111 |  | 1 | [5 empty] | 3 | CBDW25 | 1 | No | In footpath | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Victoria st | 58 56 |  | 1 | [5 empty] | 3 | CBDW26 | 3 | No | In footpath | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Victoria st | 74 |  | 1 | [5 empty] | 3 | CBDW27 | 0 | No | In road | Hydrant leaking marked. | Closed By ADR.
ADR | 12.9.22 | CBD West | Manners st | 29 |  | 1 | [5 empty] | 3 | CBDW28 | 1 | No | In road | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Bond St | opp 4 |  | 1 | [5 empty] | 3 | CBDW29 | 1 | No | In road | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Edwards st | 19 |  | 1 | [5 empty] | 3 | CBDW30 | 0.5 | No | In road | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Marion St | 32 |  |  | 1 |  |  |  |  | 2 | CBDW31 | 6 | No | in footpath | Toby leaking marked. | Connection between meter and private line
ADR | 12.9.22 | CBD West | Guznee St | 97 | 1 | [6 empty] | 3 | CBDW32 | 3 | No | In Road | SV leaking marked.
ADR | 12.9.22 | CBD West | Corner of Guznee and Willis |  |  | 1 | [5 empty] | 3 | CBDW33 | 3 | No | In Footpath | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Stout st | 9 |  | 1 | [5 empty] | 3 | CBDW34 | 1 | No | In road | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Balance st | Supreme court |  | 1 | [5 empty] | 3 | CBDW35 | 3 | No | In road | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Grey st | 2 |  | 1 | [5 empty] | 3 | CBDW36 | 1 | No | In footpath | Hydrant leaking marked.
ADR | 12.9.22 | CBD West | Egmont st | 28 |  |  | 1 |  |  |  |  | 3 | CBDW37 | 3 | No | in laneway | Large clicking of meter noise on toby however meter dials and gage not moving.
ADR | 13.9.22 | CBD West | Boulcott st | 99 |  | 1 | [5 empty] | 3 | CBDW38 | 1 | No | In road | Hydrant leaking marked.
ADR | 13.9.22 | CBD West | Boulcott st | 63 |  |  | 1 |  |  |  |  | 3 | CBDW39 | 1 | No | In Footpath | Toby leaking marked.
ADR | 13.9.22 | CBD West | Taranaki st | 54 |  |  | 1 |  |  |  |  | 3 | CBDW40 | 3 | No | In Footpath | Toby leaking marked.
ADR | 13.9.22 | CBD West | Taranaki st | 62 |  | 1 | [5 empty] | 3 | CBDW41 | 0.5 | No | in footpath | Hydrant leaking marked.
ADR | 13.9.22 | CBD West | Taranaki st | 72 |  | 1 | [5 empty] | 3 | CBDW42 | 3 | No | In Footpath | Hydrant leaking marked.
ADR | 25.9.22 | CBD West | The Terrace | 205 |  |  | 1 |  |  |  |  | 4 | CBDW43 | 1 | No | In Footpath | Toby leaking marked.
ADR | 25.9.22 | CBD West | Featherston St | 133 | 1 | [6 empty] | 3 | CBDW44 | 3 | No | In road intersection with Johnston St close to traffic lights | SV leaking marked. | SV box full of water
ADR | 25.9.22 | CBD West | Victoria st | 8 |  |  |  | 1 |  |  |  | 2 | CBDW45 | 120 | No | In footpath close to building | Dedicated fire service leaking under the footpath
ADR | 25.9.22 | CBD West | Waterloo Quay | 86 |  |  |  | 1 |  |  |  | 2 | CBDW46 | 60 | Yes | In garden planted berm by the road | Service leak surfacing in the flax garden by the road edge. Strong flow of watter going down the gutter | ADR marked this leak in March. It is opposite Blair Weight Panel Beaters
ADR | 25.9.22 | CBD West | Jervois Quay | 39 | 1 | [6 empty] | 2 | CBDW47 | 15 | Yes | In the footpath close to the road by the north west side of the lagoon | Gate valve leeaking marked. | Close to the bridge over to the wharf
ADR | 25.9.22 | CBD West | Cable St | 18 |  |  | 1 |  |  |  |  | 3 | CBDW48 | 6 | No | In the blue meter box in the footpath | Leak in the meter box which is full of water | Meter reading 22912 & meter serial is 1040729
ADR | 25.9.22 | CBD West | Lambton Quay | 182 |  | 1 | [5 empty] | 3 | CBDW49 | 1 | No | Road. | Hydrant leaking from the outlet.Marked. | ASB Bank
ADR | 25.9.22 | CBD West | Lambton Quay | 310 |  | 1 | [5 empty] | 3 | CBDW50 | 5 | No | Road. | Hydrant leaking from the outlet.Marked. | Mirrou Shop.
ADR | 25.9.22 | CBD West | Willis Street | 136 |  | 1 | [5 empty] | 3 | CBDW51 | 5 | No | Road. | Hydrant leaking from the outlet.Marked.
ADR | 25.9.22 | CBD West | The Terrace | 111 |  | 1 | [5 empty] | 3 | CBDW52 | 1 | No | Road. | Hydrant leaking from the outlet.Marked. | Equinox House
ADR | 27.9.22 | CBD West | Victoria st | 251 |  |  | 1 |  |  |  |  | 2 | CBDW53 | 30 | No | In the Road opposite the south side of 251 Victoria. | Leak on or close to the service connection to the main. | Marked in the live lane
ADR | 27.9.22 | CBD West | The Terrace | 253 | [6 empty] | 1 | 3 | CBDW55 | 10 | No |  | Private leak heard on toby.
ADR | 27.9.22 | CBD West | Allerby Tce | 3 | [6 empty] | 1 | 3 | CBDW56 | 3 | No |  | Private leak heard on toby.
ADR | 27.9.22 | CBD West | Allerby Tce | 4 | [6 empty] | 1 | 3 | CBDW57 | 3 | No |  | Private leak heard on toby.
ADR | 27.9.22 | CBD West | Willis Street | 233 |  |  | 1 |  |  |  |  | 3 | CBDW58 | 0.5 | No | In footpath | Toby leaking marked.
ADR | 27.9.22 | CBD West | Macdonald cres | 38 | [6 empty] | 1 | 3 | CBDW59 | 6 | No |  | Private leak heard on toby.
ADR | 28.9.22 | CBD West | Lady Elizabeth Lane | 37 |  | 1 | [5 empty] | 3 | CBDW60 | 0.5 | No | In Road | Hydrant leaking closed by adr
ADR | 28.9.22 | CBD West | Lady Elizabeth Lane | 37 |  | 1 | [5 empty] | 3 | CBDW61 | 0.5 | No | In Road | Hydrant leaking closed by adr
ADR | 28.9.22 | CBD West | Lady Elizabeth Lane | 37 |  |  | 1 |  |  |  |  | 3 | CBDW62 | 1 | No | In footpath | Toby leaking marked.
ADR | 29.9.22 | CBD West | Webb St | 8 | [6 empty] | 1 | 2 | CBDW63 | 30 | Yes | In footpath | Private side service pipe leaking
ADR | 29.9.22 | CBD West | Victoria st | 209 | [5 empty] | 1 |  | 2 | CBDW64 | 30 | No | In paved footpath area | Mains leak
ADR | 29.9.22 | CBD West | Manners st | 69 |  |  |  | 1 |  |  |  | 2 | CBDW65 | 20 | No | In Road | In live lane close to the hydrant | This leak can be heard with the naked ear above ground. It is on a copper service connection to the 300mm DI main.
ADR | 29.9.22 | CBD West | Cornhill Street | South end by big blue water meter pipework |  |  |  | 1 |  |  |  | 2 | CBDW66 | 30 | No | Close to the water meter pipework on the side of the building | Service leak before the pipe work likely on the upward bend
Total leaks |  |  |  |  | 6 | 26 | 13 | 7 | 1 | 1 | 11 | 65 |  | 531

## Missing or Broken
Contractor | Date | DMA | Street | House No. | Comments
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR
ADR