Kia ora koutou

This is a summary of the status and performance of all Wellington regional wastewater and water treatment plants for March 2026.

Wastewater compliance remains under pressure, with several treatment plants across the region operating outside consent conditions due to effluent quality exceedances, ageing assets, and recent operational incidents.

Moa Point WWTP remains non-operational following the 4 February flooding event, which resulted in widespread electrical and control system damage. This continues to represent the most significant operational, environmental, and compliance issue for the period.

South Wairarapa wastewater performance continues to rely on future capital investment decisions, with Greytown and Martinborough WWTPs remaining non-compliant despite recent operational improvements.

Power supply reliability remains an ongoing risk, particularly during storm events, affecting both wastewater and water treatment plant operations across the region.

Drinking water safety is unchanged, with all WTPs compliant with drinking water standards except Waterloo. The Metro water plants did have temporary disruptions to fluoride dosing due to a storm-related outage. There was also a fluoridation shut down while batch assurance checks were undertaken with a new chemical supply source being utilised. This did not affect drinking water safety.

Major odour control and treatment upgrade projects at Porirua and Seaview WWTPs, continue to progress and are expected to improve plant performance and community outcomes once completed.

Otherwise, an upgrade of the UV disinfection system at Western WWTP was completed ahead of schedule in March.

For more details on individual plant performance and items of significance, please refer to the attached compliance dashboards.

ENDS