## HCC
HUTT CITY COUNCIL (HCC)
Water Type | DIA # | Performance Measure | Target | End of Year Result | Q1 25/26 Result | Result Comments / Explanation
Water supply | 1 | The extent to which the local authority’s drinking water supply complies with the following parts of the drinking water quality assurance rules for each water treatment plant: · T3 Bacterial Rules (GWRC WTPs) Part H - Te Mārua, Wainuiomata · T3 Protozoal Rules (GWRC WTPs) Part I - Te Mārua, Wainuiomata, Waterloo · D3 Distribution (Microbiological Monitoring) Rules (Part J) | All Met (100%) |  | All Met (100%) | The Waterloo Water Treatment Plant is non-compliant with the new Drinking Water Quality Assurance rules due to insufficient contact time with chlorine for water for approximately 800 households. Funding has been provided by Hutt City Council in their Long-Term Plan to address this issue, and the water remains safe to drink.
Water supply | 2 | The percentage of real water loss from the local authority’s networked reticulation system* | <= 20% |  |  | Not assessed until end of Financial Year.
Water supply | 3A | Median response time to attend urgent call-outs | <=90 mins |  | 40 mins
Water supply | 3B | Median response time to resolve urgent call-outs | <= 8 hours |  | 1.7 hours
Water supply | 3C | Median response time to attend non-urgent call-outs | <= 72 hours |  | 21 hours
Water supply | 3D | Median response time to resolve non-urgent call-outs | <= 20 working days |  | 3 working days
Water supply | 4 | The total number of complaints received about drinking water taste, clarity, odour, water pressure or flow, continuity of supply or the response to any of these issues; expressed per 1000 connections | <=20 |  | 7.9
Water supply | 5 | Average consumption of drinking water per day per resident | <385L |  | 375L | Significant demand reduction achieved in last 12months thanks to increased investment from council in finding and fixing leaks.
Wastewater | 1 | The number of dry weather sewerage overflows from the territorial authority’s sewerage system, expressed per 1000 connections | <20 |  | 0.8
Wastewater | 2A | Number of abatement notices received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2B | Number of infringement notices received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2C | Number of enforcement orders received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2D | Number of successful prosecutions in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 3A | Median response time to attend a sewage overflow resulting from a blockage or other fault in the sewerage system | <= 90 mins |  | 74 mins
Wastewater | 3B | Median response time to resolve a sewage overflow resulting from a blockage or other fault in the sewerage system | <= 8 hours |  | 3 hours
Wastewater | 4 | The total number of complaints received about sewerage odour, sewerage system faults, sewerage system blockages and the response to any of these issues; expressed per 1000 connections | <=30 |  | 7.3
Stormwater | 1A | The number of flooding events that occurred throughout the year | <=2 |  | 0 | No Flooding Event.
Stormwater | 1B | For each flooding event, the number of habitable floors affected; expressed per 1000 connections | <0.24 |  | 0 | No Flooding Event.
Stormwater | 2A | Number of abatement notices received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2B | Number of infringement notices received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2C | Number of enforcement orders received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2D | Number of successful prosecutions in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 3 | Median response time to attend a flooding event | <=8 hours |  | 0 | No Flooding Event.
Stormwater | 4 | The number of complaints received by a territorial authority about the performance of its stormwater system, expressed per 1000 connections | <=20 |  | 4.2
Stormwater | LTP | Achieve water quality at main recreational beaches: percentage of days that monitored beaches are suitable for recreational use during bathing season – 1 Dec to 31 Mar | 100% |  | N/A
Water Supply | LTP | Kilometres of renewal for 3 waters infrastructure | N/A |  | 216 metres

## Drinking Water Compliance
The extent to which the local authority’s drinking water supply complies with the following parts of the drinking water quality assurance rules:
T3 Bacterial Rules (GWRC Treatment Plants) (Part H)
Plant | YTD compliance | Q1 Compliance | Commentary
Te Mārua | All Met (100%) | N/A
Wainuiomata | All Met (100%) | N/A
Waterloo | All Met (100%) | N/A | The Waterloo Water Treatment Plant (owned by the Greater Wellington Regional Council) remains non-compliant with the relevant treatment rules due to insufficient contact time with chlorine for approximately 800 households.
T3 Protozoal Rules (GWRC Treatment Plants) (Part I)
Te Mārua | All Met (100%) | N/A
Wainuiomata | All Met (100%) | N/A
Waterloo | All Met (100%) | N/A
D3 Distribution (Microbiological Monitoring) Rules (Part J)
HCC Drinking Water Network | All Met (100%) | All Met (100%)