## SWDC
SOUTH WAIRARAPA DISTRICT COUNCIL (SWDC)
Water Type | DIA # | Performance Measure | Target | End of Year Result | Q1 25/26 Result | Result Commments / Explanation
Water supply | 1A | The extent to which the local authority’s drinking water supply complies with the following parts of the drinking water quality assurance rules for each water treatment plant: · T3 Bacterial Rules (GWRC WTPs) Part H - Martinborough, Featherston, Greytown · T1 Treatment Rules (Part A) - Pirinoa · T3 Protozoal Rules (GWRC WTPs) Part I - Martinborough, Featherston, Greytown plants · D3 Distribution (Microbiological Monitoring) Rules (Part J) - Martinborough, Featherston, Greytown networks | As below. |  |  | Pirinoa is not a D3 distribution.
|  | Featherston Scheme | All Met (100%) |  | All Met (100%)
|  | Greytown Scheme | All Met (100%) |  | All Met (100%)
|  | Martinborough Scheme | All Met (100%) |  | All Met (100%)
|  | Pirinoa Scheme | All Met (100%) |  | N/A
Water supply | 2 | The percentage of real water loss from the local authority’s networked reticulation system | <30% |  | N/A | Not assessed until end of Financial Year.
Water supply | 3A | Median response time to attend urgent call-outs | <60 mins |  | 26 mins
Water supply | 3B | Median response time to resolve urgent call-outs | <8 hours |  | 1.1 hours
Water supply | 3C | Median response time to attend non-urgent call-outs | <2 working days |  | 2 working days | Athough just outside the target this quarter, it has remained relatively static throughout the year.
Water supply | 3D | Median response time to resolve non-urgent call-outs | <5 working days |  | 4 working days
Water supply | 4 | The total number of complaints received about drinking water taste, clarity, odour, water pressure or flow, continuity of supply or the response to any of these issues; expressed per 1000 connections | <65 |  | 4
Water supply | 5 | Average consumption of drinking water per day per resident | <400L |  | 552L | Increased council investment in water loss reduction and renewals is required to meet this target.
Wastewater | 1 | The number of dry weather sewerage overflows from the territorial authority’s sewerage system, expressed per 1000 connections | <10 |  | 0
Wastewater | 2A | Number of abatement notices received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2B | Number of infringement notices received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2C | Number of enforcement orders received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2D | Number of successful prosecutions in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 3A | Median response time to attend a sewage overflow resulting from a blockage or other fault in the sewerage system | <60 mins |  | 35 mins
Wastewater | 3B | Median response time to resolve a sewage overflow resulting from a blockage or other fault in the sewerage system | <4 hours |  | 2.3 hours
Wastewater | 4 | The total number of complaints received about sewerage odour, sewerage system faults, sewerage system blockages and the response to any of these issues; expressed per 1000 connections | <60 |  | 3.9
Stormwater | 1A | The number of flooding events that occurred throughout the year | 0 |  | 0 | No Flooding Event.
Stormwater | 1B | For each flooding event, the number of habitable floors affected; expressed per 1000 connections | 0 |  | 0 | No Flooding Event.
Stormwater | 2A | Number of abatement notices received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2B | Number of infringement notices received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2C | Number of enforcement orders received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2D | Number of successful prosecutions in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 3 | Median response time to attend a flooding event | <3 hours |  | 0 | No flooding Event.
Stormwater | 4 | The number of complaints received by a territorial authority about the performance of its stormwater system, expressed per 1000 connections | 0 |  | N/A
Water supply | LTP | Compliance with resource consent conditions to "mainly complying" or better | 100% |  | 100%
Water supply | LTP | Ratepayers and residents satisfied with level of service for water | 80% |  | Not WWL
Water supply | LTP | Attendance for urgent call-outs: from the time that the local authority receives notification to the time that service personnel reach the site in <1 hour | 80% |  | 83% | Athough outside the Target for the year, the low number of jobs can cause a higher degree of variance.
Water supply | LTP | Resolution of urgent callouts: from the time that the local authority receives notification to the time that service personnel confirm resolution of the fault or interruption in <8 hours | 90% |  | 83% | Athough outside the Target for the year, the low number of jobs can cause a higher degree of variance.
Water supply | LTP | Attendance for non-urgent call-outs: from the time that the local authority receives notification to the time that service personnel reach the site in <2 working days | 80% |  | 47% | Athough outside the Target for the year, the low number of jobs can cause a higher degree of variance.
Water supply | LTP | Resolution of non-urgent call-outs: from the time that the local authority receives notification to the time that service personnel confirm resolution of the fault or interruption in <5 working days | 80% |  | 35% | Tracking outside the Target this quarter, this trend has remained relatively constant throughout the year.
Water supply | LTP | Fire hydrants tested annually that meet NZ Fire Service Code of Practice | 20% |  | 20%
Wastewater | LTP | Number of blockages per 1000 connections | <10 |  | 3.2
Wastewater | LTP | Ratepayers and residents satisfaction with waste water services | 60% |  | Not WWL
Wastewater | LTP | Attendance time: from notification to arrival on site in <1 hour | 85% |  | 100%
Wastewater | LTP | Resolution time: from notification to resolution of fault in <4 hours | 90% |  | 100%
Wastewater | LTP | % of resource consent conditions complied with to mainly complying or better | 90% |  | Annual Measure
Wastewater | LTP | Proportion of urgent wastewater service requests responded to within 6 hours of notification | 95% |  | 100%
Stormwater | LTP | % of ratepayers and residents satisfied with stormwater drains | 60% |  | Not WWL
Stormwater |  | % of urgent (any blockage causing extensive flooding of buildings or other serious flooding) requests for service responded to within 5 hours | 95% |  | N/A – No flooding events

## Drinking Water Compliance
The extent to which the local authority’s drinking water supply complies with the following parts of the drinking water quality assurance rules:
T3 Bacterial Rules (GWRC Treatment Plants) (Part H)
Plant | Q1 Compliance | Commentary
Martinborough | All Met (100%)
Featherston | All Met (100%)
Greytown | All Met (100%)
T1 Treatment Rules (Part A)
Pirinoa | All Met (100%)
T3 Protozoal Rules (Part I)
Martinborough Plant | All Met (100%)
Featherston Plant | All Met (100%)
Greytown Plan | All Met (100%)
D3 Distribution (Microbiological Monitoring) Rules (Part J)
Martinborough Network | All Met (100%)
Featherston Network | All Met (100%)
Greytown Network | All Met (100%)
D1 Distribution Rules (Part B)
Pirinoa | All Met (100%)