## WCC
WELLINGTON CITY COUNCIL (WCC)
Water Type | DIA # | Performance Measure | Target | End of Year Result | Q1 25/26 Result | Result Comments / Explanation
Water supply | 1A & 1B | The extent to which the local authority’s drinking water supply complies with the following parts of the drinking water quality assurance rules for each water treatment plant: · T3 Bacterial Rules (GWRC WTPs) Part H - Te Marua, Wainuiomata · T3 Protozoal Rules (GWRC WTPs) Part I - Te Marua, Wainuiomata, Waterloo · D3 Distribution (Microbiological Monitoring) Rules (Part J) - PCC drinking water network | All Met (100%) |  | All Met (100%) | The T3 Rules don’t apply to the WCC network. The only compliance applicable to WCC is the D3 Rules.
Water supply | 2 | The percentage of real water loss from the local authority’s networked reticulation system* | <17% |  | N/A | Not assessed until end of Financial Year.
Water supply | 3A | Median response time to attend urgent call-outs | <60 mins |  | 65 mins | Currently just outside the set target, there has been an improvement in attendance times compared to the previous year. This positive influence is largely attributed to the reduced backlog allowing us to respond quicker.
Water supply | 3B | Median response time to resolve urgent call-outs | <4 hours |  | 3.4 hours
Water supply | 3C | Median response time to attend non-urgent call-outs | <36 hours |  | 71 hours | Despite not meeting the target for Non Urgent response, we are still seeing an overall positive downwards trend in attendance times, as the backlog has reduced.
Water supply | 3D | Median response time to resolve non-urgent call-outs | < 5 days |  | 9 days | Despite not meeting the target for Non Urgent resolution, we are still seeing an overall positive downwards trend in resolution times, as the backlog has reduced.
Water supply | 4 A-F | The total number of complaints received about drinking water taste, clarity, odour, water pressure or flow, continuity of supply or the response to any of these issues; expressed per 1000 connections | <20 |  | 3.5
Water supply | 5 | Average consumption of drinking water per day per resident | <365L |  | 373.2L | While tracking above target, a significant demand reduction has been achieved in last 12months thanks to increased investment from Council in finding and fixing leaks.
Wastewater | 1 | The number of dry weather sewerage overflows from the territorial authority’s sewerage system, expressed per 1000 connections | 0 |  | 2 | Wellington City Council sets a target of zero dry-weather wastewater overflows. The result in Q1 has stayed stable at 2 overflows per 1000 connections.
Wastewater | 2A | Number of abatement notices received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0 | Abatement Notice A1145 to cease the unauthorised discharge of contaminant to air from Moa Point Wastewater Treatment Plant (issued 22/09/2025) File No: WGN080003. This was withdrawn.
Wastewater | 2B | Number of infringement notices received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2C | Number of enforcement orders received in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 2D | Number of successful prosecutions in relation to the resource consents for discharge from sewerage systems | 0 |  | 0
Wastewater | 3A | Median response time to attend a sewage overflow resulting from a blockage or other fault in the sewerage system | <=60 mins |  | 67 mins | Currently just outside the set target for Urgent Waster Water jobs, we are still seeing a overall positive downward trend in attendance times.
Wastewater | 3B | Median response time to resolve a sewage overflow resulting from a blockage or other fault in the sewerage system | <= 6 hours |  | 4 hours
Wastewater | 4 A-D | The total number of complaints received about sewerage odour, sewerage system faults, sewerage system blockages and the response to any of these issues; expressed per 1000 connections | <30 |  | 6.9
Stormwater | 1A | The number of flooding events that occurred throughout the year | <=2 |  | 0 | No flooding Event.
Stormwater | 1B | For each flooding event, the number of habitable floors affected; expressed per 1000 connections | <=0.13 |  | 0 | No flooding Event.
Stormwater | 2A | Number of abatement notices received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2B | Number of infringement notices received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2C | Number of enforcement orders received in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 2D | Number of successful prosecutions in relation to the resource consents for discharge from stormwater systems | 0 |  | 0
Stormwater | 3 | Median response time to attend a flooding event | <=60 mins |  | 0 | No flooding Event.
Stormwater | 4 | The number of complaints received by a territorial authority about the performance of its stormwater system, expressed per 1000 connections | <20 |  | 3.8
Water supply | LTP | Water supply interruptions (measured as customer hours) | Monitor trend |  | 0.4
Stormwater | LTP | Monitored sites (%) that have a rolling 12 month median value for E.coli (dry weather samples) that do not exceed 1000 cfu/100ml | 90% |  | 83% | Heavy rain and wet weather conditions affected sampling results.
Stormwater | LTP | Days (%) during the bathing season (1 November to 31 March) that the monitored beaches are suitable for recreational use | 90% |  | N/A
Stormwater | LTP | Number of stormwater pipeline blockages per km of pipeline. | ≤0.5 |  | 0
Wastewater | LTP | Number of wastewater reticulation incidents per km of reticulation pipeline (blockages) | ≤0.8 |  | 0.04

## Drinking Water Compliance
The extent to which the local authority’s drinking water supply complies with the following parts of the drinking water quality assurance rules :
T3 Bacterial Rules (GWRC Treatment Plants) (Part H)
Plant | YTD compliance | Q1 Compliance | Commentary
Gear Island | All Met (100%) | N/A
Te Mārua | All Met (100%) | N/A
Wainuiomata | All Met (100%) | N/A
Waterloo | All Met (100%) | N/A
T3 Protozoal Rules (GWRC Treatment Plants) (Part I)
Gear Island | All Met (100%) | N/A
Te Mārua | All Met (100%) | N/A
Wainuiomata | All Met (100%) | N/A
Waterloo | All Met (100%) | N/A
D3 Distribution (Microbiological Monitoring) Rules (Part J)
WCC Drinking Water Network | All Met (100%) | All Met (100%)